## Bid Form
Hewett Dr, Russell Rd, Russett Rd, and Redeemer Ave Water Main Replacement Project
File No. 2013-034
Bid No. 4378
Item |  |  | Estimated
No. | Item Description | Unit | Quantity | Unit Price | Total Price
1047051 | Audio-visual Recording | LSUM | 1 |  | 0
1047051 | General Conditions, Max $70,000 | LSUM | 1 |  | 0
1047051 | Project Supervision, Max $40,000 | LSUM | 1 |  | 0
2020002 | Tree, Rem, 19 inch to 36 inch | Ea | 3 |  | 0
2020004 | Tree, Rem, 6 inch to 18 inch | Ea | 11 |  | 0
2030011 | Dr Structure, Rem | Ea | 10 |  | 0
2030015 | Sewer, Rem, Less than 24 inch | Ft | 100 |  | 0
2040080 | Exploratory Investigation, Vertical | Ft | 75 |  | 0
2047001 | Curb, Gutter, and Curb and Gutter, Any Type, Rem | Ft | 2027 |  | 0
2047011 | Sidewalk, Sidewalk Ramp, and Driveway Approach, Any Thickness, Rem | Syd | 515 |  | 0
2050023 | Granular Material, Cl II | Cyd | 100 |  | 0
2057011 | Machine Grading, Modified | Syd | 11354 |  | 0
2057021 | Subgrade Undercutting | Cyd | 100 |  | 0
2080036 | Erosion Control, Silt Fence | Ft | 200 |  | 0
2087050 | Erosion Control, Inlet Filter | Ea | 40 |  | 0
2090001 | Project Cleanup | LSUM | 1 |  | 0
3020001 | Aggregate Base | Ton | 100 |  | 0
3060020 | Maintenance Gravel | Ton | 150 |  | 0
|  |  |  | TOTAL THIS PAGE | 0
4020987 | Sewer, Cl IV, 12 inch, Tr Det B | Ft | 100 |  | 0
4021260 | Trench Undercut and Backfill | Cyd | 50 |  | 0
4030010 | Dr Structure Cover, Type B | Ea | 34 |  | 0
4030050 | Dr Structure Cover, Type K | Ea | 10 |  | 0
4030200 | Dr Structure, 24 inch dia | Ea | 10 |  | 0
4030390 | Dr Structure, Temp Lowering | Ea | 10 |  | 0
4037050 | Adjust Structure Cover | Ea | 30 |  | 0
4047001 | Underdrain, Subgrade, 6 inch, Special | Ft | 6986 |  | 0
5010005 | HMA Surface, Rem | Syd | 11354 |  | 0
5010025 | Hand Patching | Ton | 80 |  | 0
5010703 | HMA, LVSP | Ton | 3280 |  | 0
6030005 | Cement | Ton | 0.5 |  | 0
8017011 | Driveway, Nonreinf Conc, 6 inch, Modified | Syd | 146 |  | 0
8020004 | Curb, Conc, Det E4 | Ft | 50 |  | 0
8027001 | Curb and Gutter, Conc | Ft | 1910 |  | 0
8027001 | Driveway Opening, Conc, Det M, Modified | Ft | 373 |  | 0
8037001 | Detectable Warning Surface, Modified | Ft | 35 |  | 0
8037010 | Sidewalk Ramp, Conc, 6 inch, Modified | Sft | 255 |  | 0
|  |  |  | TOTAL THIS PAGE | 0
8037010 | Sidewalk, Conc, 4 inch, Modified | Sft | 2353 |  | 0
8037010 | Sidewalk, Conc, 6 inch, Modified | Sft | 156 |  | 0
8087001 | Fence, Protective, Modified | Ft | 463 |  | 0
8107050 | No Parking Sign | Ea | 97 |  | 0
8110025 | Pavt Mrkg, Ovly Cold Plastic, 6 inch, White | Ft | 60 |  | 0
8110045 | Pavt Mrkg, Ovly Cold Plastic, 24 inch, Stop Bar | Ft | 15 |  | 0
8110078 | Pavt Mrkg, Ovly Cold Plastic, Thru Arrow Sym | Ea | 2 |  | 0
8120012 | Barricade, Type III, High Intensity, Double Sided, Lighted, Furn | Ea | 10 |  | 0
8120013 | Barricade, Type III, High Intensity, Double Sided, Lighted, Oper | Ea | 10 |  | 0
8120140 | Lighted Arrow, Type C, Furn | Ea | 2 |  | 0
8120141 | Lighted Arrow, Type C, Oper | Ea | 2 |  | 0
8120260 | Plastic Drum, High Intensity, Lighted, Furn | Ea | 50 |  | 0
8120261 | Plastic Drum, High Intensity, Lighted, Oper | Ea | 50 |  | 0
8120330 | Sign, Portable, Changeable Message, Furn | Ea | 1 |  | 0
8120331 | Sign, Portable, Changeable Message, Oper | Ea | 1 |  | 0
8120350 | Sign, Type B, Temp, Prismatic, Furn | Sft | 400 |  | 0
8120351 | Sign, Type B, Temp, Prismatic, Oper | Sft | 400 |  | 0
8120352 | Sign, Type B, Temp, Prismatic, Special, Furn | Sft | 100 |  | 0
|  |  |  | TOTAL THIS PAGE | 0
8120353 | Sign, Type B, Temp, Prismatic, Special, Oper | Sft | 100 |  | 0
8120370 | Traf Regulator Control | LSUM | 1 |  | 0
8127051 | Minor Traffic Control, Max $7,500 | LSUM | 1 |  | 0
8150335 | Amelanchier x grandifolia 'Robin Hill', 2 inch | Ea | 1 |  | 0
8150547 | Betula nigra, tree form, 2 inch | Ea | 1 |  | 0
8150808 | Cercis canadensis, tree form, 2 inch | Ea | 1 |  | 0
8152309 | Malus 'Harvest Gold', 2 inch | Ea | 3 |  | 0
8152312 | Malus 'Indian Magic', 2 inch | Ea | 3 |  | 0
8152315 | Malus 'Prairie Fire', 2 inch | Ea | 3 |  | 0
8152330 | Malus 'Snowdrift', 2 inch | Ea | 3 |  | 0
8152513 | Nyssa sylvatica, 2 inch | Ea | 3 |  | 0
8153113 | Quercus robur, 2 inch | Ea | 1 |  | 0
8153717 | Syringa reticulata 'Ivory Silk', 1 3/4 inch | Ea | 3 |  | 0
8167011 | Slope Restoration | Syd | 3039 |  | 0
8167011 | Ball Field Restoration | Syd | 450 |  | 0
8230075 | Gate Well,Abandon | Ea | 5 |  | 0
8230431 | Gate Box, Adj, Case 1 | Ea | 2 |  | 0
8237001 | Water Main, Abandon | Ft | 3315 |  | 0
|  |  |  | TOTAL THIS PAGE | 0
8237001 | Water Main, DI w/Polyethylene Wrap, 12 inch, Tr Det I Modified | Ft | 1758 |  | 0
8237001 | Water Main, DI w/Polyethylene Wrap, 12 inch, Tr Det VI Modified | Ft | 365 |  | 0
8237001 | Water Main, DI w/Polyethylene Wrap, 6 inch, Tr Det I Modified | Ft | 81 |  | 0
8237001 | Water Main, DI w/Polyethylene Wrap, 8 inch, Tr Det I Modified | Ft | 2031 |  | 0
8237001 | Water Main, DI w/Polyethylene Wrap, 8 inch, Tr Det VI Modified | Ft | 127 |  | 0
8237001 | Water Main, HDPE, 14 inch, Directional Drill | Ft | 310 |  | 0
8237001 | Water Service Tap and Lead, Excavate and Backfill | Ft | 497 |  | 0
8237050 | Fire Hydrant Assembly, w/Extensions, Complete | Ea | 9 |  | 0
8237050 | Fire Hydrant, Rem | Ea | 2 |  | 0
8237050 | Gate Valve-in-Box, 12 inch | Ea | 5 |  | 0
8237050 | Gate Valve-in-Box, 6 inch | Ea | 1 |  | 0
8237050 | Gate Valve-in-Box, 8 inch | Ea | 7 |  | 0
8237050 | Gate Valve-in-Well, 12 inch | Ea | 1 |  | 0
8237050 | Gate Valve-in-Well, 8 inch | Ea | 1 |  | 0
8237050 | Water Main, DI, 11.25 deg Bend, 12 inch | Ea | 4 |  | 0
8237050 | Water Main, DI, 11.25 deg Bend, 8 inch | Ea | 2 |  | 0
8237050 | Water Main, DI, 22.5 deg Bend, 12 inch | Ea | 2 |  | 0
8237050 | Water Main, DI, 22.5 deg Bend, 8 inch | Ea | 7 |  | 0
|  |  |  | TOTAL THIS PAGE | 0
8237050 | Water Main, DI, 45 deg Bend, 12 inch | Ea | 13 |  | 0
8237050 | Water Main, DI, 45 deg Bend, 8 inch | Ea | 15 |  | 0
8237050 | Water Main, DI, Reducer, 12 inch by 6 inch | Ea | 2 |  | 0
8237050 | Water Main, DI, Reducer, 12 inch by 8 inch | Ea | 3 |  | 0
8237050 | Water Main, DI, Reducer, 8 inch by 4 inch | Ea | 1 |  | 0
8237050 | Water Main, DI, Reducer, 8 inch X 6 inch | Ea | 8 |  | 0
8237050 | Water Main, DI, Tee, 12 inch by 12 inch | Ea | 3 |  | 0
8237050 | Water Main, DI, Tee, 12 inch by 8 inch | Ea | 6 |  | 0
8237050 | Water Main, DI, Tee, 6 inch by 6 inch | Ea | 1 |  | 0
8237050 | Water Main, DI, Tee, 8 inch by 6 inch | Ea | 1 |  | 0
8237050 | Water Main, DI, Tee, 8 inch by 8 inch | Ea | 4 |  | 0
8237050 | Water Main, Line Stop, Temp, 4 inch or 6 inch | Ea | 2 |  | 0
8237050 | Water Main, Tie-In | Ea | 4 |  | 0
8507001 | Sewer, SDR 26 PVC, Service Lead, 6 inch, Tr Det I Modified | Ft | 100 |  | 0
8507050 | Sewer, SDR 26 PVC, 45 deg Bend, 6 inch | Ea | 10 |  | 0
8507050 | Sewer, SDR 26 PVC, Riser, 6 inch | Ea | 10 |  | 0
8507050 | Sewer, SDR 26 PVC, Tee or Wye, 10 inch by 6 inch | Ea | 10 |  | 0
8507050 | Sewer, SDR 26 PVC, Tee or Wye, 8 inch by 6 inch | Ea | 10 |  | 0
|  |  |  | TOTAL THIS PAGE | 0
|  |  |  | TOTAL FROM PAGE BF-1 (ADD-2-2) | 0
|  |  |  | TOTAL FROM PAGE BF-2 (ADD-2-3) | 0
|  |  |  | TOTAL FROM PAGE BF-3 (ADD-2-4) | 0
|  |  |  | TOTAL FROM PAGE BF-4 (ADD-2-5) | 0
|  |  |  | TOTAL FROM PAGE BF-5 (ADD-2-6) | 0
|  |  |  | TOTAL FROM PAGE BF-6 (ADD-2-7) | 0
|  |  |  | TOTAL BASE BID | 0