## Sheet1
CITY OF ANN ARBOR - FIBER AND CONDUIT CONSTRUCTION FOR THE DOWNTOWN DEVELOPMENT AUTHORITY (DDA) DISTRICT TECHNOLOGY PARK
PRICING PROPOSAL FORM
Contractor:
Contact Name/Position:
Email:
Phone:
UNIT PRICING
LABOR PRICING
Labor pricing includes traffic control plans, setup, maintenance and breakdown, compacted backfill, stormwater and erosion control setup maintenance and breakdown, safety compliance and soft surface restoration. All cells shown in Green shall be completed by the Contractor. All other cells are protected in this form.
Item # | Description | Estimated Quantity | Unit | Unit Price | Total | Notes
1 | Directional Bore (2) 2" | 33293.95 | Ft |  | 0
2 | Directional Bore (4) 2" | 15933.1197 | Ft |  | 0
3 | Trench | 7966.5598 | Ft |  | 0
4 | Trenching Contigency | 2987.4599 | Ft |  | 0
5 | Potholing | 232 | Each |  | 0
6 | Install Mule tape | 104992.9885 | Ft |  | 0
7 | Install #12 Tracer wire | 57193.6295 | Ft |  | 0
8 | Install Fiber Cable in Duct - Including All Slack | 91841 | Ft |  | 0
9 | Install Ground Rod | 50 | Each |  | 0
10 | Remove and Restore Concrete | 2287.7452 | Sq Ft |  | 0
11 | Install Extra Large Vault - 30x48x36 | 87 | Each |  | 0
12 | Install Large Vault - 24x36x24 | 145 | Each |  | 0
13 | Install Marker Post | 12 | Each |  | 0
14 | Install Marker Post with Test Station | 12 | Each |  | 0
15 | Building Entrance | 2 | Each |  | 0
16 | Pull fiber inside building | 2000 | Ft |  | 0
17 | Install New Splice Case & Prep Cable - for ring connections | 87 | Each |  | 0
18 | Install New Splice Case & Prep Cable - for butt splices | 53 | Each |  | 0
19 | Ground Splice Case |  | Each |  | 0
20 | Splice Fibers | 3300 | Each |  | 0
21 | Install patch panel - Racking or mounting panel | 15 | Each |  | 0
22 | Cable Prep for Panel - Cost to prep one cable | 15 | Each |  | 0
23 | Terminate Fibers in patch panel - Splicing in patch panel | 1728 | Each |  | 0
24 | Test Fiber (OTDR + Results) | 864 | Each |  | 0
25 | Remove and replace asphalt | 263 | Each |  | 0
|  |  |  | Labor Total | 0
MATERIAL PRICING
Material pricing includes shipping, handling, and storage. All cells shown in Green shall be completed by the Contractor. All other cells are protected in this form.
Item # | Description | Estimated Quantity | Unit | Unit Price | Total | Notes
26 | Mule tape | 104992.9885 | Ft |  | 0
27 | Teir-15 Vault - 30x48x36 | 87 | Each |  | 0
28 | Teir-15 Vault - 24x36x24 | 145 | Each |  | 0
29 | #12 Tracer Wire | 57193.6295 | Ft |  | 0
30 | Ground Rod - 8ft copper | 50 | Each |  | 0
31 | Marker Post | 12 | Each |  | 0
32 | Marker Post with Test Station | 12 | Each |  | 0
33 | 2" HDPE SDR11 Conduit | 178405.2798 | Ft |  | 0
34 | Copper Split bolt - Allied Bolt - PART # 855 | 232 | Each |  | 0
35 | 5/8" ECONOMY GROUND ROD CLAMP - Allied Bolt - PART # 2192 | 50 | Each |  | 0
36 | Splice Trays - D-Gel | 700 | Each |  | 0
37 | Splice Closure - FOSC-D | 69 | Each |  | 0
38 | 24 CT Fiber Cable | 10238 | Ft |  | 0
39 | 288 CT Fiber Cable | 49563 | Ft |  | 0
40 | 432 CT Fiber Cable | 32040 | Ft |  | 0
41 | Splice Cassett - Corning Centrix CTXCPP24-A9-2RH000 | 90 | Each |  | 0
42 | 24ct patch panel - Corning Centrix CTX-S2U | 6 | Each |  | 0
43 | Fiber Distribution Rack - Corning Centrix CTX-CAB-F2209PGBAN | 1 | Each |  | 0
0
0
|  |  |  | Material Total | 0
| TOTAL BID | 0