{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet2","index":0,"n_rows":8,"n_cols":8,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
[null,"CMMS WORK ORDER","WW00001996","WW00002076","WW00002077","WW00002088","WW00002088",13042]
[null,"SSO ID","SSO-21-01","SSO-21-13","SSO-21-14","SSO-22-01","SSO-22-03","SSO-23-15"]
[null,"SSO ADDRESS","Katsaros Drive ","36 People Place","785 Washington Street","9 Leblanc Street","South Prospect St","Multiple Calls "]
[null,"START DATE/TIME","2021-03-17T20:30:00","2021-12-05T16:00:00","2021-12-18T23:00:00","2022-01-22T10:30:00","2022-07-26T13:00:00","8/8/2023 NA"]
[null,"END DATE/TIME","2021-03-17T21:00:00","2021-12-05T17:30:00","2021-12-18T23:45:00","2022-01-22T11:30:00","2022-01-22T14:00:00","8/8/2023 NA"]
[null,"DESCRIPTION OF DISCHARGE","Sewer System Blockage","Lift Station Failure","Sewer System Blockage","Sewer System Blockage","Sewer System Blockage","Washington St Sewer Break/ City wide location "]
[null,"SSO EST. VOL.",25,100,200,25,5000,100000]
[null,"ANTICIPATED TIME DISCHARGE EXPECTED TOCONTINUE ","Resolved","Resolved","Resolved","Resolved","Resolved","Resolved"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}